High-throughput screening of thermoelectric oxides.

R. Funahashi1,2, S. Urata1, M. Kitawaki3, T. Kouuchi3, Y. Maeda3, M. Mikami1,2,

E. Guilmeau1, and T. Mihara1

1 National Institute of Advanced Industrial Science and Technology

2 CREST, Japan Science and Technology Corporation

3 Osaka Electro-Communication University

In order to realize thermoelectric power generation using high temperature waste heat, not only must thermoelectric materials possess high conversion efficiency, but must also be composed of non-toxic and abundantly available elements having high chemical stability in air even at temperatures of 1000 K. Though CoO2-based oxides with layered structures have been reported to show good p-type thermoelectric properties at high temperature in air [1–3], the much-needed corresponding n-type oxides with thermoelectric properties sufficient for power applications have thus far eluded discovery despite concerted efforts.

A high-throughput screening technique has been developed and utilized in the discovery of a new n-type oxide possessing good thermoelectric properties [4]. With this technique 1000 samples can be prepared via a sol-gel method and their Seebeck coefficient (S) evaluated all within a day. For evaluation of S, a ‘Seebeck tester” consisting of two pairs of thermocouples, a heater, and a voltage meter is developed. S values measured using the Seebeck tester more or less coincide with those using a conventional method. The validity of this technique is proven by Ca–Co–O and Na–Co–O systems. Screening ternary systems consisting of 3d transition metals using this technique shows LaNiO3 to possess the desired n-type properties. Electrical resistivity () of this oxide is favourably quite low, however, S is as low as –25 V/K at high temperature. To enhance the thermoelectric properties of LaNiO3, high-throughput screening is employed to examine candidates from the metal ternary systems La1–xMxNiO3 and LaNi1–xNxO3. Bi substitution in the La1–xMxNiO3 systems and Cu substitution in the LaNi1–xNxO3 systems are found to be effective for improvement of S and , respectively.

# References

[1] I. Terasaki, Y. Sasago, and K. Uchinokura, Phys. Rev. B, 56, 12685 (1997).

[2] R. Funahashi, I. Matsubara, H. Ikuta, T. Takeuchi, U. Mizutani, and S. Sodeoka, Jpn. J. Appl. Phys., 39, L1127 (2000).

[3] R. Funahashi and I. Matsubara, Appl. Phys. Lett., 79, 362 (2001).

[4] R. Funahashi, S. Urata, and M. Kitawaki, Appl. Surf. Sci., 223, 44 (2004).